VEEDER-ROOT PETROLEUM






7887 Meter Register:
Designed for maximum readability – engineered for extra life in fuel deliveries and, fluid flow transactions of all kinds.

1. New crisp, high visibility digital display for optimum readability in all ambient lighting.
2. Latest technology, modern materials give maximum dependability at speeds to 250 rpm of right wheel.
3. Positive action knob reset.
4. Built-in precision totalizer accumulates up to 99,999,999 units.
5. Acetal resin components for smooth operation and extra long life.
6. Fits all popular flow meters.

Description:
The Meter Register is the outstanding choice for recording and displaying delivery data in a wide variety of industries. In the petroleum refining and distribution field, it is used from the well to pipelines and storage centers, then to gasoline and fuel oil delivery trucks. In the chemical processing field, it can be used for displaying totals during mixing and batching operations.

The 7887 Meter Register totalizes and displays high speed deliveries and transactions in large easy-to-read figures. Ideal for increased efficiency in all kinds of liquid inventory and delivery operations. Utilizing a geared drive available in a wide selection of ratios, the Meter Register records in practically any unit of liquid measure – gallons, liters, barrels, etc. – as well as non-liquid units.

Special optional adaptors are available to mate the Meter Register with all standard meters and pumps. It also easily combines with Veeder-Root Meter Preset and Printer to form a complete count, control and print system.

Finished in corrosion resistant epoxy, the sturdy housing protects the Meter Register in demanding environments and extremes in weather.


7886 High-Capacity Meter Register:
New High-Capacity design – engineered for extra life in high-volume fuel deliveries and fluid flow transactions.

1. New – count capacity to 999999 gallons.
2. High-visibility digital display for optimum readability.
3. Rugged construction gives maximum dependability at speeds to 250 rpm of right wheel.
4. Positive-action knob reset.
5. Built-in precision totalizer accumulates up to 99,999,999 units.
6. Acetal resin components for smooth operation and extra long life.
7. Fits all popular flow meters.

Description:
The Series 7886 High-Capacity Meter Register is the outstanding choice for recording and displaying high-volume delivery data in a wide variety of industries. In the petroleum refining and distribution field, it is used from the well to pipelines and storage centers, then to gasoline and fuel oil delivery trucks. In the chemical processing field, it can be used for displaying totals during mixing and batching operations.

The 7886 High-Capacity Meter Register totalizes and displays high speed deliveries and transactions to 999999 gallons in large easy-to-read figures. Ideal for increased efficiency in all kinds of liquid inventory and delivery operations. Utilizing a geared drive available in a wide selection of ratios, the Meter Register records in practically any unit of liquid measure – gallons, liters, barrels, etc. – as well as non-liquid units.

Special optional adapters are available to mate the Meter Register with all standard meters and pumps. It also easily combines with Veeder-Root Printer to form a complete counting and printing system.

Finished in corrosion-resistant epoxy, the sturdy housing protects the Meter Register in demanding environments and extreme weather.


1683 Open Frame Register:
25 Different Designs
COMMON MODELS:
162326-007 2:1 Ratio
162326-004 2:1 Ratio w/pointer
162326-102 2:1 Ratio w/pointer & shutter


7888 Ticket Printer:
Two models are available: Accumulative and Zero Start. The Accumulative Printer, before delivery, prints the total remaining from the previous delivery. After delivery, the total accumulated at that point is printed. The amount just delivered is found by subtracting the previous total from the accumulated total. Zero start models first print zeros. The total printed after delivery is the actual amount of the transaction.


7889 Preset Counter:
The rugged two-stage preset quantity control for high speed volume deliveries.  Counts down from a preset quantity.  First stage knockoff slows delivery before the second stage shuts off the delivery system at zero.  The first stage (or slowdown) knockoff can be field adjusted to calculate 3 to 9, or from 10 to 90 in increments of 10.

Preset number can be easily set with one hand.  Stop button provides immediate positive control of shutoff, for emergency shutdown.  Interlocks block system until pump valve is opened.  Mechanical knockoff is standard, electrical knockoff optional.  Available in 4 or 5 figures.  The 7887 register counter is required for operation.


Micro-switch Cutoff:
The Electronic Knock-Off Switch Kit consists of a 7856 Explosion Proof Switch assembly and mounting components.  The kit is available with or without handle.  The switch assembly has 4 switches (Single Pole Double Throw) providing full flow, low flow or off control.  The switch assembly can be rear, right or left side mounted.  The switch assemblies are UL & CSA or EEx approved.


Pulse Transmitters:
The 1871,  7697 and 7671 pulse transmitters accurately pulses electronic signals from a Veeder-Root meter register to a remote display or a data system.

The 1871 and 7697 pulse transmitter switches a fixed level input voltage to form a square wave pulse with minimum contact bounce for use with transistorized circuits.  The transmitters utilizes a dry-reed switch, magnet and gear train, synchronized to provide 1 ppr or 10 ppr.

The 7671 pulse transmitter directly controls an electronic current with a magnetic field, eliminating moving contacts.  Two magnetically sensitive digital integrated circuits and two revolving magnetic disks with supporting hardware generate a pulse train.  This pulser provides a single (100 ppr) or dual channel (50 ppr).


Swivels:
The swivel adapter allows the register to be rotated to any desired angle before delivery or while meter is operating.  Accuracy of registration is not affected.  Reduces cost and saves space on loading racks where trucks are filled from either side.  Also available to be used with preset counter.


Tray Switch:
The Interlock Tray Switch with associated circuitry prevents a pump or valve from turning on until the reset operation is complete, and it protects the meter register from clutch damage caused by improper resetting during product transfer.  Also used for resetting external digital displays to zero after a transaction is finalized, when used with the optional pulse transmitter.

The specially designed reset switch and cam assembly causes the switch contact to change whenever an operator attempts to reset the register.  Only after a proper reset is complete, can the system be activated again and the delivery be resumed.

Combinations:

Veeder-Root:  7888 Printer with 7887 Register & 7889 Preset – Stack:


TCS 682 Flowmeter: with Air Eliminator strainer and Mechanical Shut off  with Veeder-Root 7887 Register &  Veeder-Root 7889 Preset.

